[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



 EasySET
Head Shower
FFASS515-000AL0BT0
[image: image3.png]307

© 0@ o 00 000

/o

@ 6 0 o o

e o © o

81







FEATURES
· PVD plated 
· ABS Decoration
· With normal packaging
· Flow rate @ 0.1MPa: 7.21 L/min 
SPECIFICATIONS

G1/2” for inlet 



FINISHES AVAILABILITY
Brushed Hard Graphite
AWARDS WON
 N/A
SHIPPING WEIGHT 
Product weight: 0.78 kg 
STANDARDS CRITERIA
 GB 18145-2014 

WI10.0575
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











