WizFlo

WizFlo Duo Hand Shower -APAC

1361460000

FEATURES

- ABS plastic body, Chrome body.

- ABS+PC spray face, white.

- With color box packaging

- 2 functions: spray, jet

- Easy open to clean for the spray face

- With Shower holder

- With 1.5M Twist-free shower hose

- Flow rate @ 0.1Mpa : 7.2L/min

SPECIFICATIONS

- Spray face dimension: 100 mm

DIMENSIONAL DRAWING

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

- Red Dot

SHIPPING WEIGHT

Product gross weight: 0.494 kg/set

Product net weight: 0.414 kg/set

STANDARDS CRITERIA

GB/T 23447-2023

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.