[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



Neo Modern
Extend Basin Mixer
FFAS0703-109500BC0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator 2.2 GPM
· Without pop-up drain
· With normal packaging
· Flow rate @ 0.1MPa: 3.6 L/min for spout
SPECIFICATIONS
Extend Basin Mixer Faucet
1-Hole Installation: lever handle (cold & hot)

Spout Reach: 146 mm

Spout Height:  237 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product weight:  2.6 kg 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











