[image: image1.png]American Standard




[image: image2.png]


Floor Drain
E Type Square Anti-odor Drainage
FFAS9202-001500BC0
[image: image3.png]9

00







FEATURES
· A grade brass, strong and durable
· Cover can be demounted for cleaning
· With normal packaging
· Flow rate:0.5 L/s
SPECIFICATIONS
Square Sharp
Chrome Finish

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  0.47kg/set 
Product net weight:  0.33kg/set 
STANDARDS CRITERIA
 GB/T 27710
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











