[image: image1.png]American Standard




[image: image2.png]


Simplica
3 Way Rain Shower kit
FFAS9089-100500BC0

[image: image3.png]S d







FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· 3 way Ceramic diverter for longer usage
· High Flow rate Aerator
· 5 functions hand shower
· With φ230mm head shower 

· With 1.5M Twist-free shower hose 
· With adjustable shower Hanger
· With normal packaging
· Flow rate：@ 0.1MPa，8.4 L/min for Spout
· Flow rate：@ 0.1MPa，4.2 L/min for hand shower
· Flow rate：@ 0.1MPa，7.2 L/min for shower head
SPECIFICATIONS
Exposed bath & shower mixer
Double handle and double control（Adjustable flow   
                                     and  outlet water temperature）
φ230mm Plastic Round Shower Head

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

Product gross weight：5.3kg /set

Product net weight：5.1kg /set
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











