Acacia-E

Concealed Shower Main Mixing Valve

FFAS1322-708DA0BF0

FEATURES

- DZR brass body, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- Brass escutcheon,

- PVD (- Warm Sunset)

- Without shower kits

- Without u-box

- With normal packaging

- Flow rate @ 0.1MPa: 16.6 L/min for shower outlet

SPECIFICATIONS

Concealed Shower Mixing Valve

WaterMark certification

FINISHES AVAILABILITY

PVD (- Warm Sunset)

AWARDS WON

- N/A

DIMENSIONAL DRAWING

SHIPPING WEIGHT

Product gross weight:  1.9 kg /set

Product net weight:  1.7 kg /set

STANDARDS CRITERIA

AS/NZS 3718:2005

AS/NZS 6400:2016

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.