[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



 EasySET
EasySET for Hand Shower

FFAS0925-709A00BF0
[image: image3.png]




FEATURES

· Casting brass concealed body
· On/Off by the push function
· cartridge tested = 200,000 times
· With normal packaging
Flow rate @ 0.3MPa:  46 L/min          
SPECIFICATIONS

Concealed control valve
Volume adjustment by the knob

FINISHES AVAILABILITY
PVD Hard Graphite
AWARDS WON
·  N/A

SHIPPING WEIGHT 
Product weight: 1.3 kg 

STANDARDS CRITERIA

QBT 1334-2013
WI10.0575

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











