[image: image1.png]



[image: image2.png]American Standard



Signature
Signature SH Basin Mixer W/ Drain
FFAS1701- 101A00BT0
[image: image3.png]





FEATURES
· Low lead brass, strong and durable
· Grohe High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator PCA 1.5 GPM
· With drain
· With normal packaging
· Flow rate @ 0.1MPa: 4 L/min
SPECIFICATIONS

[image: image4.png]14

5

49

60

€6¢

B31.15

TOUGE

1 49.5

TOW0E

G 12"




Basin mixer faucet
1-hole installation: lever handle (cold & hot)

Spout reach: 101 mm

Spout height:  99 mm


FINISHES AVAILABILITY
PVD Polished Hard Graphite
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  2.11kg /set 
Product net weight:  1.9kg /set 
STANDARDS CRITERIA
GB 18145-2014  
TIS 2067-2552 

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











