EasySET

EasySET for Body Shower

FFAS0927-709DA0BF0

FEATURES

- Casting brass concealed body

- On/Off by the push function

- cartridge tested = 200,000 times

- With normal packaging

Flow rate @ 0.3MPa:  46 L/min

SPECIFICATIONS

Concealed control valve

Volume adjustment by the knob

FINISHES AVAILABILITY

PVD Warm Sunset

AWARDS WON

- N/A

SHIPPING WEIGHT

Product weight: 1.3 kg

DIMENSIONAL DRAWING

STANDARDS CRITERIA

QBT 1334-2013

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.