[image: image1.png]



[image: image2.png]American Standard



 Rainclick
3 Function Hand Shower

FFAS9H11-000A00BF0
[image: image3.png]





FEATURES
ABS plastic body, Polished Hard Graphite.
· ABS plastic panel, white.
· With normal packaging
· Flow rate @ 0.1MPa: 4.5 L/min 
                                       SPECIFICATIONS

3 function: Tranquil Rain, Jet Rain, Therapy Rain
Panel dimension: 130 mm

FINISHES AVAILABILITY
 PVD Polished Hard Graphite
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  0.37 kg/set 
Product net weight:  0.28 kg/set 
STANDARDS CRITERIA
GB/T 23447-2009 

WI10.0575
[image: image4.png]



This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











