[image: image1.png]American Standard




[image: image2.png]212.6

Gl/2"




Neo-Modern DH Bath Mixer 
FFAS0715-604090BF0 – White
FFAS0715-604500BF0 - Chrome
[image: image3.png]



[image: image4.png]





FEATURES
· A grade brass, strong and durable
· High quality and high flow ceramic valve for longer usage
· Ceramic cartridge life cycle: 500,000 times
· Automatic diverter >0.05 Mpa

       Manual Locking < 0.05 Mpa

· Flow Straightener of Spout 

· Cool Shield Technology with no risk of scalding 
· With normal packaging
· Flow rate @ 0.1MPa: 11 L/M for spout
· Flow rate @ 0.1MPa: 10 L/M for hand shower 
· Visible hot & cold indicators
.

SPECIFICATIONS

Exposed Two knob mixer.
Three-Hole Installation
Spout Projection: 79 mm


FINISHES AVAILABILITY
Chrome Knob
White/Chrome body Cover 

AWARDS WON
·  N/A
SHIPPING WEIGHT
Product gross weight:  1.54kg /set 
Product net weight: 1.28 kg /set 
STANDARDS CRITERIA
GB 18145-2014 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











