[image: image1.png]



[image: image2.png]American Standard



Acacia-E
DM 4H Bath & Shower Mixer
FFAS1300-601GL0BT0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl HC V slim air aerator 
· 5-functions hand shower
· With shower hose & shower hanger
· With normal packaging
· Flow rate @ 0.1MPa: 9.7 L/min for spout
· Flow rate @ 0.1MPa: 5.7 L/min for shower
SPECIFICATIONS

DM 4-hole bath & shower mixer faucet
4-hole installation: double handle (cold & hot)

Spout reach: 191 mm


FINISHES AVAILABILITY
PVD Cool Sunrise
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  5.1kg /set
Product net weight:  4.9kg /set

STANDARDS CRITERIA
GB 18145-2014  

WI10.0575
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











