EasySET

Conceal Thermostatic Mixer with Trim

FFAS0930-000500BC0

FEATURES

- Casting brass concealed body

- With Anti-scald protect button to avoid scalding

- With water temperature restrictor, the Max. temperature for the water

- cartridge tested = 30,000 times

- With normal packaging

- Flow rate @ 0.3MPa:  47 L/min

SPECIFICATIONS

Concealed control valve

By default the factory setting is 38 ℃ for the water coming out.

With water temperature restrictor,

the Max. temperature for the water coming out is lower than 49 ℃

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product weight: 1.9 kg

STANDARDS CRITERIA

Q B 2806-2006

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING