EasySET

Wall Outlet with holder – Square (G1/2”)

FFAS9143-000500BC0

FEATURES

- Brass body, chrome plated

- Brass escutcheon, chrome plated

- With normal packaging

- Flow rate @ 0.1MPa:  49  L/min

SPECIFICATIONS

G1/2” for inlet and outlet

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product weight: 0.52 kg

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING