[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



 EasySET
Wall Outlet – Square (R1/2”)

[image: image3.png]


FFAS9142-000500BT0


FEATURES
· Brass body, chrome plated 
· Plastic escutcheon, chrome plated 
· With normal packaging
· Flow rate @ 0.1MPa:  49  L/min 
SPECIFICATIONS

R1/2” for inlet 


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
 N/A
SHIPPING WEIGHT 
Product weight: 0.24 kg 
STANDARDS CRITERIA
TIS 2067-2552
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











