[image: image1.png]American Standard




[image: image2.png]G1/2"\.‘\%’

1.5

$20.6

Max252

o

] [ G1/2"




Ceiling Shower Arm
FFAS9908-000AL0BF0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· Brass escutcheon, 
· PVD (-Brush Hard Graphite)
· With normal packaging
SPECIFICATIONS

Ceiling type
Dimension:  Φ20.6*252 mm

FINISHES AVAILABILITY
PVD (-Brush Hard Graphite)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight: 0.4 kg /set 
Product net weight: 0.25 kg /set 
STANDARDS CRITERIA
GB 23447-2009  

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











