Kitchen Sink

under counter design one-bowl sink 673mm

101373MS00

FEATURES

- High quality SUS304 stainless steel ,strong ability for anti-corrosion and anti-oxidation

- High-end satin finish

- Deep flap design

- Rearward- waste design

- Capacity (to overflow): 38L

- With SUS304 drain and PP Material Waste

- With box packaging

SPECIFICATIONS

Single bowl

Under counter

SUS304 sheet thickness 1.2mm

FINISHES AVAILABILITY

DIMENSIONAL DRAWING

Satin

AWARDS WON

- N/A

SHIPPING WEIGHT

Product weight:  5.6 kg

STANDARDS CRITERIA

Q/ASJM 004-2023

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.