Shower

Concealed Body Shower

FFASS054-000440BF0

FEATURES

- Plastic escutcheon, Matt Black plated

- Single function

- With constant flow regulator for water saving.

- With normal packaging

- Flow rate @ 0.1MPa:  5.8  L/min

SPECIFICATIONS

Body shower with conceal body

FINISHES AVAILABILITY

DIMENSIONAL DRAWING

Matt Black

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight: 0.78 kg

Product Net weight:   0.7kg

STANDARDS CRITERIA

GB/T 23447-2009

Matt Black                                                                                           WI10.0589

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.