[image: image1.png]American Standard




[image: image2.png]


DuoSTIX
Hygiene Spray with Hose and Holder
FFASTS28-000441BT0 (Matte Black)

FFASTS28-000441BF0 (Matte Black)

[image: image3.png]






FEATURES
· ABS plastic body

Matte Black
Two functions: spray and jet spray
· Easy to take the cap off for jet spray function 
· 100,000 life cycles for on/off
· With 1.2M flexible hose
· DIY color box packaging
· Flow rate @ 0.1MPa: 5 L/min
SPECIFICATIONS
Hygiene Spray 
flow rate at 0.10MPa: ≤6L/min
G1/2 thread for inlet
 Matte Black: 
FINISHES AVAILABILITY
Matte Black

AWARDS WON 
             N/A

SHIPPING WEIGHT

           Product gross weight: 0.45 Kg/set 

 Product net weight: 0.35 Kg/set 

STANDARDS CRITERIA
 TIS 1497-2005 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

         Rev.: D/1
Matte Black       





DIMENSIONAL DRAWING 








DIMENSIONAL DRAWING 











