[image: image6.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



Acacia-E
Concealed Bath & Shower Main Mixing Valve
FFAS1321-6T9AL0BT0
[image: image3.png]120

58410

124

150





[image: image4.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Brass escutcheon, PVD Finish
· Without spout & shower kits
· With u-box
· With normal packaging
· Flow rate @ 0.1MPa: 13.3 L/min for spout outlet
· Flow rate @ 0.1MPa: 13.9 L/min for shower outlet
SPECIFICATIONS
[image: image5.png]143

Wiz

§0.5-52.5




Concealed Bath &Shower Mixing Valve
1-Hole Installation: lever handle (cold & hot)



FINISHES AVAILABILITY
PVD  Brushed hard graphite
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product weight: 3.4 kg 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











